Fume Hood Work Permit

(This permit should only be used if the employee performs work inside the fume hood or has to access the hood exhaust)

Employee:(performing work)

Lab/Room:

Building:

Fume Hood Serial #:

Work order#:

Type of maintenance to be performed:

All items in the following checklist must be completed before performing fume hood maintenance.

(Boxes Must Be Checked)

- Contact the Principal Investigator/Responsible Person (PI/RP) for the hood requiring maintenance.  Request all hazardous material be removed prior to performing maintenance.

- Ask if acutely hazardous material was used in the hood, if so, contact Environmental Health & Safety.

- Personal protective equipment must be worn, at a minimum safety glasses, nitrile gloves and tyvek sleeves.

- If maintenance requires physical entrance into the plenum exhaust a confined space permit must be issued.

- If the fume hood is labeled with a Radioactive Material label notify Environmental Health & Safety (EHS).  Do Not perform maintenance on these hoods and associated duct work without an EHS representative assisting.

- Do Not perform maintenance on Perchloric fume hoods, notify EHS.

- All fume hoods requiring maintenance must be marked “out of service”.

- If exhaust fans that service more than one fume hood require service, then all fume hoods associated with that fan must be marked “out of service” and the PI/RP must be notified.

The items in the above checklist have been performed and/or reviewed for this maintenance activity.

Workers Signature Date