FACILITY HAZARD INSPECTION REPORT

MISSOURI UNIVERSITY OF SCIENCE AND TECHNOLOGY

| GENERAL | 1. NAME OF BUILDING OR FACILITY INSPECTED | 2. INSPECTION DATE |
| --- | --- | --- |
|  | 3. INSPECTOR’S NAME | 5. TYPE OF OCCUPANCY (check more than one if applicable) ⁪ ADMINSTRATION ⁪ EDUCATIONAL ⁪ DORMITORY ⁪ CAFETERIA ⁪ MEDICAL ⁪ OTHER |
|  | 4. SECOND INSPECTOR’S NAME |  |
| SECTION I. GROUNDS | YES | NO |
| GENERAL | 1. Are sidewalks immediately around the building and leading to entrances in good repair? |  |  |
|  | 2. Are tops of grills or manholes located in sidewalks at the same elevation as the sidewalks? |  |  |
|  | 3. Are grills located in sidewalks secure with no slants across direction of travel? |  |  |
|  | 4. Are outside steps in good repair? |  |  |
|  | 5. Are all outside light standards or fixtures secure? |  |  |
|  | 6. Do all outside lights have bulbs and provide illumination? |  |  |
|  | 7. Are surfaces of adjacent parking lots without holes or ruts? |  |  |
| FIRE PREV. AND PROT. | 8. Are trees and shrubs trimmed away from walks and steps? |  |  |
|  | 9. Are all fire hydrants/standpipes accessible and unobstructed? |  |  |
|  | 10. Are all fire hydrants conspicuously painted? |  |  |
| SECTION II. BUILDING EXTERIOR | YES | NO |
| GENERAL | 1. Does the roof appear to be in good repair? |  |  |
|  | 2. If installed, are lightning rods secure and properly connected for grounding? |  |  |
|  | 3. Does tuck-pointing appear to be in good repair? |  |  |
|  | 4. Are ledges, copings and decorative facades secure? |  |  |
|  | 5. Are affixed signs secure? |  |  |
|  | 6. Are gutters and downspouts secured? |  |  |
|  | 7. Are loading docks in good repair? |  |  |
|  | 8. Are loading docks provided with appropriate railings? |  |  |
|  | 9. Are revolving doors governed? |  |  |
|  | 10. Are “slow”, “caution” or similar signs posted on the window of each wing of the revolving door? |  |  |
|  | 11. Are there handrails on all steps? |  |  |
|  | 12. Trash on premises? |  |  |
|  | 13. Are handrails secure? |  |  |
| FIRE PREVENTION AND PROTECTION | 14. Are fire Siamese connections unobstructed? |  |  |
|  | 15. Are fire Siamese connections in good repair? |  |  |
|  | 16. Are parking restrictions around fire Siamese connections evident? |  |  |
|  | 17. Are fire escapes constructed of steel? |  |  |
|  | 18. Are fire escapes properly secured to the building? |  |  |

| SECTION III. BUILDING INTERIOR | YES | NO |
| --- | --- | --- |
| A. Lobby or Corridor | XXX | XXX |
| GENERAL | 1. Are all light fixtures covered so that no wiring is exposed? |  |  |
|  | 2. Are all light fixtures secure and bulbs burning? |  |  |
|  | 3. Are floors in good repair? |  |  |
|  | 4. Is the general lighting in most corridors sufficient to eliminate dark areas? |  |  |
| FIRE PREVENTION AND PROTECTION | 5. Do the fire doors close completely? |  |  |
|  | 6. Are all open fire doors equipped with a fusible link on door closure? |  |  |
|  | 7. Were all open fire doors open by means of door closure rather than wood wedge or other prop? |  |  |
|  | 8. Are all fusible links free of paint? |  |  |
|  | 9. Are fusible links on fire door UL approved and of the proper temperature rating? |  |  |
|  | 10. Are fire doors unobstructed? |  |  |
|  | 11. Are all exit lights illuminated? |  |  |
|  | 12. Are sufficient exit and/or directional signs and lights posted at or in exit-ways? |  |  |
| B. Stairs and Stairways | XXX | XXX |
| GENERAL | 1. Are handrails installed where required? |  |  |
|  | 2. Are existing hand rails secure? |  |  |
|  | 3. Is the floor in good repair? |  |  |
|  | 4. Is lighting adequate to eliminate dark areas? |  |  |
|  | 5. Are safety treads on steps secure? |  |  |
|  | 6. Are exit doors leading to the outside equipped with panic hardware or other acceptable latching devices which allow exit from the building without a key? |  |  |
|  | 7. Are all exit lights illuminated? |  |  |
| FIRE PREV. AND PROT. | 8. Are sufficient exit and/or directional signs and lights posted at or in exit-ways? |  |  |
|  | 9. Are spaces beneath stairs clear of all combustible materials? |  |  |
| C. Elevators | XXX | XXX |
| GENERAL | 1. Do most elevators have inner doors? |  |  |
|  | 2. Do elevators having an inner door also provide for the inter-locking of inner doors & outside doors? |  |  |
|  | 3. Do elevator cabs have an emergency escape hatch? |  |  |
|  | 4. Does the emergency escape hatch open easily and without the need of any tool? |  |  |
|  | 5. Do elevators have an emergency alarm or some other type of emergency communication? |  |  |
|  | 6. Does each elevator cab have a sign (affixed or painted) indicating the maximum number of passengers allowed in the cab or equivalent weight limitation? |  |  |
|  | 7. Do elevators provide emergency stop equipment or devices? |  |  |
|  | 8. Is the cab flooring in good repair? |  |  |
|  | 9. Is the cab adequately lighted? |  |  |
|  | 10. Has elevator and shaft-way been inspected by the University personnel or company representatives in the past 12 months? |  |  |

| C. (continued) Elevators | XXX | XXX |
| --- | --- | --- |
| FIRE PREV. AND PROT. | 11. Are “no smoking” signs (affixed or painted) in view upon entering the cab or inside the cab? |  |  |
|  | 12. Are elevator pits clear of all combustible materials? |  |  |
| D. Mechanical Equipment & Shop Areas | XXX | XXX |
| GENERAL | 1. Do machines and equipment have required guards and other safety devices? |  |  |
|  | 2. Is all electrical wiring secure? |  |  |
|  | 3. Are all connections enclosed? |  |  |
|  | 4. Is floor area clean and without evidence of oil spills? |  |  |
|  | 5. Where required, does all pressure equipment have a safety release device? |  |  |
|  | 6. Has all pressure equipment been inspected in the last 12 months? |  |  |
|  | 7. Is pressure-setting of valves in accordance with U.S.A. Standards? |  |  |
|  | 8. Are all hoses and connections secure and without leakage? |  |  |
|  | 9. Are all gas cylinders chained or otherwise secured in an upright position? |  |  |
|  | 10. Is all piping labeled and/or painted using the U.S. Standard color code? |  |  |
|  | 11. Has air velocity been checked on all exhaust systems in the past 12 months? |  |  |
|  | 12. Are the pickups and ducts of all exhaust systems free of accumulations? |  |  |
| FIRE PREVENTION AND PROTECTION | 13. Are all heating equipment and steam lines properly installed and separated from all combustible materials? |  |  |
|  | 14. Are fire extinguishers of the appropriate kind and located in the immediate area? |  |  |
|  | 15. Is insulation on open wiring in good condition (not brittle)? |  |  |
|  | 16. Are circuit fuses of proper size for building wiring? |  |  |
|  | 17. Are fuse and switch boxes closed? |  |  |
|  | 18. Are all motor and other electrical appliances clean and free from lint? |  |  |
|  | 19. Where installed, have smoke detectors in air handling equipment been inspected in the last 12 months? |  |  |
|  | 20. Are covers on all electrical controls and electrical equipment in place? |  |  |
| E. Material and Supply Storage Area | XXX | XXX |
| GENERAL | 1. Are aisles and doors clear or otherwise unobstructed? |  |  |
| FIRE PREV. AND PROT. | 2. Is bulk storage of combustible supplies in a fire-resistive location? |  |  |

| F. Building Interior | XXX | XXX |
| --- | --- | --- |
| OFFICE SAFETY | 1. Are drawers closed when not in use? |  |  |
|  | 2. Are there trip hazards, i.e. loose carpeting, electrical cords? |  |  |
|  | 3. Are electrical outlets overloaded? |  |  |
|  | 4. Do the electrical cords have good insulation? |  |  |
|  | 5. Are there fall hazards? |  |  |
|  | 6. Is there an accumulation of combustible material? |  |  |
|  | 7. Are aisles free of clutter that could restrain egress? |  |  |
| WORK AREA SAFETY | 8. Are the eye wash/safety showers accessible? |  |  |
|  | 9. Has the eye wash/safety shower been flushed routinely? |  |  |
|  | 10. Is the eyewash bottle wall station marked with a date current within a year of the inspection? |  |  |
|  | 11. Is there an eye wash/safety shower located within a reasonable distance to the work being performed? |  |  |
|  | 12. Is personal protection available, used and functional? |  |  |
|  | 13. Are there trip hazards? |  |  |
|  | 14. Are tools, machines and other equipment in good repair? |  |  |
|  | 15. Is there adequate lighting? |  |  |
|  | 16. Does the machine have exposed parts, such as sharp edges, that could cause injury? |  |  |
|  | 17. Are materials located in areas demanding lifting that could cause back strain or injury? |  |  |
|  | 18. Is there any possibility of getting caught in or between machine parts? |  |  |
|  | 19. Are there any risks of falling to another level? |  |  |
|  | 20. Are fume hood sashes kept in the down position? |  |  |
|  | 21. Is the fume hood used as a storage area instead of a work station? |  |  |
|  | 22. Are there sources of ignition stored with flammable materials in the fume hood? |  |  |
|  | 23. Is the work area kept in an orderly manner? |  |  |
| G. Miscellaneous | XXX | XXX |
| GEN. | 1. Are metal containers used for the storage of trash, rubbish or garbage and are containers closed? |  |  |
|  | 2. Were there no or few commercial type extension cords found in use? |  |  |
|  | 3. If any maintenance or repair work was in progress, were caution signs and/or roping or barriers used to warn the passersby? |  |  |
| FIRE PREVENTION AND PROTECTION | 4. Is combustible storage prohibited in attics and “crawl” spaces? |  |  |
|  | 5. Are sprinkler heads clear of files, stockpiles, partitions or other obstructions? |  |  |
|  | 6. Is sprinkler piping secure with no sagging lines? |  |  |
|  | 7. Has the fire hose been tested within the last 12 months? |  |  |
|  | 8. Is the fire hose equipped with a spray nozzle? |  |  |
|  | 9. Has the fire hose valve been tested within the last 12 months? |  |  |
|  | 10. Are all standpipe valves easily accessible? |  |  |
|  | 11. Do extinguishers have an inspection tag and have extinguishers been serviced in the last 12 months? |  |  |
|  | 12. Is quantity, kind and placement of fire extinguishers adequate? |  |  |
|  | 13. Does the building have an operational fire bell or emergency system? |  |  |